## Slide 1: EEE 306 Project Presentation
Presented by: Group 3
Group members ID:
1906174, 1906175, 1906176, 1906177, 1906178

## Slide 2: Comparison between High Voltage DC (HVDC) Transmission System and High Voltage AC (HVAC) System using SIMULINK

## Slide 3: Objectives:
Build HVAC and HVDC transmission model in Simulink
Compare the two models with the help of different metrics

## Slide 4: Comparison Metrics:

## Slide 5: What is HVDC and HVAC Transmission System?
HVAC
A transmission system that transmits AC power at voltage about 33 kV to 230 kV is known as HVAC transmission system
HVDC
A transmission system that transmits DC power at a voltage about 100 kV to 800 kV is known as HVDC transmission system.

## Slide 6: SIMULINK model of an HVAC system

## Slide 7: Components
Line Parameters

## Slide 8: Simulation Result:
Fig: AC Transmission Service
TABLE AC

## Slide 9: Simulink model of an HVDC system

## Slide 10: Simulation Result:
Table DC
Fig:DC Transmission System

## Slide 11: Example Calculation Voltage regulation of HVAC system
Distance = 500 km
VNoLoad = 4218.85 V
VFullLoad = 4214 V
VR = = 0.11%
At full load, (P=1 MW, QL=Qc= 50VAR)
At no load, (P=10 W, QL=Qc= 50VAR)

## Slide 12: Voltage regulation of HVDC system
Distance =500 Km
VNo Load = 131243.33 V
VFull Load = 99483.99V
VR = = 31.92%
At full load, (P=1 MW, QL=Qc= 50VAR)
At no load, (P=10 W, QL=Qc= 50VAR)

## Slide 13: Transmission Cost Graph

## Slide 14: Comparison Outcome
HVAC Transmission
Simple Voltage Transformation as AC Transformers are used
Low Fixed Cost
HVDC Transmission
Lower Transmission Loss
Low Variable cost
Less Expensive Components
Significantly Higher Efficiency for Long Transmission Distance
Lower Number of Conductors Needed for Transmission

## Slide 15: THANK YOU